## Sheet1
Equipments needed for setting up a paediatric eye care unit
Name of the equipment | Suggested |  | Approximate unit cost (in Rs) | Purpose | Required No
| Make | Model |  |  | Specific to Pediatric department | Common for the hospital
Outpatient area - Phase I
Matching test (Sheridan Gardiener /Cambridge simple crowding card) | Clement Clarke |  | 15000 | To rule out amblyopia in children aged between 3 & 5 years. | 1 | -
Simple Snellen visual acuity chart - drum | local |  | 1000 | This chart is used for measuring visual acuity in children aged 6 years and above. | 2 | -
A set of trial lens box and trial frame | Baliwalla | Non - Illuminated | 15000 | To refine correction / Power of glasses | 2 | -
A Hand held Streak Retinoscope (Battery type) | Heine | Beta-200 | 12000 | Retinoscope will be useful to determine refractive error. It is absolutely necessary to determine refractive error in children who are unable to be subjectively refracted, and the technique allows a quick approximation of refractive error in older children and adults, who then undergo a manifest refraction. | 2 | -
Direct ophthalmoscope (preferable battery type) | Keeler | Vista | 12000 | This instrument is useful for fundus examination | 2 | -
Corneal / Head band Loupe | Lensol |  | 300 | Magnification | 1 | -
Slit lamp with stand | Topcon | SL - 1E | 135000 | Magnification and other related fundus examination | 1 | -
90 D or 78 D lens | Volk |  | 7000 | Slit lamp Biomicroscophy / Fundus | 1 | -
Ishihara Colour vision book | Zabby |  | 1000 | Color vision | 1 | -
Indirect Ophthalmoscope +20D /+30D lens, paediatric indentor (observerscope for teaching / learning) | Keeler | Fision | 75000 | To evaluate the Indirect Fundus examination | 1 | -
Romanes Occluder | Baliwalla |  | 1650 | To detect ocular deviation | 3 | -
Tonopen | Clement Clark | Perkins | 65000 | This device is used for Intraocular pressure measurement | 1 | -
Worth 4 dot test set with Red and Green glasses - Near vision | Local |  | 5000 | To measure the near Binocular vision evaluation | 1 | -
Worth 4 dot test set with Red and Green glasses - distance vision | Local |  | 5000 | To measure the distance binocular vision evaluation | 1 | -
TNO stereo test set with Red and Green glasses. | Clement Clark |  | 20000 | To check Steropsis | 1 | -
Electric Hess screen with fosters torches | Clement Clark |  | 350000 | This is used to measure the Incomitant strabismus evaluation | 1 (with neuro ophthal. Dept)
Loose prism set | Luneau | France | 18000 | This device is used to measure the amount of deviation | 2 | -
Prism bar - horizontal | Luneau | France | 12000 | This device is used to measure the amount of deviation | 1 | -
Prism bar - vertical | Luneau | France | 12000 | This device is used to measure the amount of deviation | 1 | -
RAF ruler | Clement Clark |  | 13000 | Near point convergence / Near Point accommodation | 1 | -
Synaptophotre | Baliwalla |  | 60000 | This device is used for strabismus Evaluation | 1 | -
AB-Scan | Sonomed | A/B-5500 | 800000 | This device is used for posterior segment evaluation | 1
Keratometer | Ascon |  | 21000 | This device measures the curvature of the cornea for pre- and post-surgical analysis and contact lens fitting. | 1
Operating room - Phase I
Instruments for Examination under general anaesthesia |  |  | 5, 000 | Setof instruments that are essential for examination of child/ adult under anesthesia. | 1 | -
Probing set |  |  | 5, 000 | Set of instruments used to perform probing for children having nasolacrimal obstructions. | 1 | -
Ptosis surgery set |  |  | 5, 000 | Set of instruments used to perform Ptosis surgery. | 1
Enucleation set |  |  | 5, 000 | Set of instruments used to remove the eye ball. | 1
Chalzion set |  |  | 5, 000 | Set of instruments used to remove the chalazia in children /adults. | 1
Strabimus set |  |  | 5, 000 | Set of instruments used to perform squint correction in children / Adults | 2 | -
Cataract Set | Khosla/Indo German |  | 11000 | Set of instruments used to perform cataract extraction in children / adults | 2 | -
Boyle’s apparatus | Indian Oxygen LTD | Datex-Ohmeda | 300000 | Trolley used by Anesthetist in the operating theatre | 1
Pulseoximeter | Indian Oxygen LTD | Datex-Ohmeda | 65000 | The unit displays the percentage of Hb saturated with oxygen together with an audible signal for each pulse beat, a calculated heart rate and in some models, a graphical display of the blood flow past the probe. | 1 | 1
Suction Machine | Hoslab |  | 20000 | This device is used by general anesthetist | 1 | -
BP apparatus | Diamond |  | 1000 | This device is used to measure Blood pressure | 1
Stethescope | Local |  | 500 | Resipiratory system | 1
Operating Microscope with observerscope for teaching / learning | Carl-Zeiss | OPMI - 1FR | 700000 | This device is used for micro surgery | 1
PHACO MACHINE with Vitrectomy probes | Alcon | Universal | 1000000 | This device is used for Cataract surgery but not necessary for pediatric case but very much essential for vitrectomy as there are no separate vitrectomy probes available in the market | 1
Outpatient area - Phase II
Applanation tonometer | Haag Strait | R900 | 65000 | This device is used for Intraocular pressure measurement | 1
Keeler Preferential acuity card | Keeler |  | 58000 | This device is used to estimate vision in children aged 1 year and above. | 1 (optional) | -
Hand Held slit lamp | Heine |  | 75000 | This is a portable device to examine the anterior segment. | 1 | -
Autorefarctometer | Topcon | RMA 8800 | 275000 | This device measures the accurate power for glass and contact lens fitting - automatic | 1
Bagolini glasses | Fresnel |  | 8200 | To perform Binocular vision measurement (Physiological) | 1 | -
Spielmans Occluder | Baliwalla |  | 4500 | To detect ocular deviation | 1 | -
Opthalmic Diode laser | Zeiss | Iridex - GL | 1350000 | For laser photocoagulation in ROP | 1
Note: Phase I - Equipments and instruments essential to start up the Paediatric unit
Phase II - May be a year later it could be made available for better care.